## Slide 1
Paal.ai - Smart Milk Detector
An iot-enabled milk quality monitoring system Using machine learning for real time Adulteration detection
Presented By
B M BHARATH
D DARSHAN
E MOUNIKA
Team Guide - Ms. V S Vetri Selvi

## Slide 2
Problem Statement
Traditional milk quality tests are slow, costly, and not scalable. There’s a need for a real-time, cost-effective IoT-based system that uses sensor data and machine learning to accurately predict milk quality at scale.

## Slide 3
Develop a cost-effective, portable device for real-time milk quality assessment using sensor technologies.
Objective
Critical Analysis:
  Milk adulteration is a prevalent issue affecting consumer health.
  Traditional quality assessment methods are time-consuming and expensive.
  Recent advances in IoT and sensor integration offer automated, real-time monitoring solutions.

## Slide 4
Literature Review
Çelik, A. (2022, December 31). Using machine learning algorithms to detect milk quality.
Durgun, M. (2024). Real-Time Milk Quality Control Using Multi-Spectral Sensing and Edge Computing: Advancing On-Site Detection of Milk Components with XGBoost. Applied Sciences, 14(23), 10916.
González, A. F., Laíño, R. B., Costa-Fernández, J. M., & Soldado, A. (2024). Progress and Challenge of sensors for Dairy Food Safety Monitoring. Sensors, 24(5), 1383.
Habsari, W., Udin, F., & Arkeman, Y. (2022). An analysis and design of fresh milk smart grading system based on internet of things. IOP Conference Series Earth and Environmental Science, 1063(1), 012059.
Kalaiarasi, G., Anandkumar, A., Kathirvelu, M., Dinakaran, K., & Ashok, J. (2022). IOT Based Milk Analyzer using Arduino with Wi-Fi Module. 2022 IEEE 2nd International Conference on Mobile Networks and Wireless Communications (ICMNWC), 1–5.
Lal, P. P., Prakash, A. A., Chand, A. A., Prasad, K. A., Mehta, U., Assaf, M. H., Mani, F. S., & Mamun, K. A. (2022). IoT integrated fuzzy classification analysis for detecting adulterants in cow milk. Sensing and Bio-Sensing Research, 36, 100486.
Machine Learning-Based Classification for milk Quality Assessment. (2025, February 5). IEEE Conference Publication | IEEE Xplore.
Mattar, H. L., Minim, L. A., Coimbra, J. S. R., Minim, V. P. R., Saraiva, S. H., & Telis-Romero, J. (2004). Modeling thermal conductivity, specific heat, and density of milk: a neural network approach. International Journal of Food Properties, 7(3), 531–539.
Mhapsekar, R. U., O’Shea, N., Davy, S., & Abraham, L. (2024). Hybrid Blended Deep Learning approach for milk quality analysis. IEEE Transactions on Emerging Topics in Computational Intelligence, 8(3), 2253–2268.
Saravanan, S., M, K., S, K. N., S, K. N., & V, N., I. (2021). Smart milk quality analysis and grading using IoT. 2022 6th International Conference on Intelligent Computing and Control Systems (ICICCS), 378–383.
An Edge-Centric industrial IoT solution for smart dairy processing. (2024, September 1). IEEE Journals & Magazine | IEEE Xplore.
An optimized neural network model to predict milk quality. (2024, January 18). IEEE Conference Publication | IEEE Xplore.
Development of IoT based sensor system for detection and identification of milk adulterants. (2024, March 18). IEEE Conference Publication | IEEE Xplore.
Empowering Dairy Farmers IoT milk Quality Monitoring devices. (2024, May 9). IEEE Conference Publication | IEEE Xplore.
Gehlot, A., Malik, P. K., Singh, R., Akram, S. V., & Alsuwian, T. (2022). Dairy 4.0: Intelligent Communication Ecosystem for the Cattle Animal Welfare with Blockchain and IoT Enabled Technologies. Applied Sciences, 12(14), 7316.
Goyal, K., Kumar, P., & Verma, K. (2024). XAI-empowered IoT multi-sensor system for real-time milk adulteration detection. Food Control, 164, 110495.
Manisha, N., & Jagadeeshwar, M. (2023). BC driven IoT-based food quality traceability system for dairy product using deep learning model. High-Confidence Computing, 3(3), 100121
Internet of Things (IoT) and Machine Learning (ML) enabled Livestock Monitoring. (2020, December 14). IEEE Conference Publication | IEEE Xplore.
Milk chain with ML & Blockchain: Revolutionizing Transparency for Ensuring Milk Purity in Dairy Industry. (2024, April 12). IEEE Conference Publication | IEEE Xplore.
Vishniakou, U. A., Al-Masri, A. H., & Al-Haji, S. K. (2021). Model and structure of the network internet of things for monitoring milk quality. «System Analysis and Applied Information Science», 1, 39–44.
DATASET
https://www.kaggle.com/datasets/cpluzshrijayan/milkquality

## Slide 5
COMPonents USED
  Arduino Uno R3 – Microcontroller for sensor interfacing
  ESP8266 (NodeMCU) – Wi-Fi module for wireless data transmission
  pH Sensor – Measures milk acidity
  Temperature Sensor – Captures milk temperature
  Load Cell with HX711 Module – Measures weight to help calculate milk density
  Color Sensor – Evaluates milk color quality
  OLED Display – Shows real-time milk quality grade on-site
  Power Supply Module – Powers the system (battery or USB)
  Connecting Wires, Breadboard, and Enclosure – For circuit assembly and protection

## Slide 6
System Architecture
The IoT-enabled milk quality monitoring system consists of three main layers:
1. Data Acquisition Layer
2. Data Processing & Storage Layer
3. User Interaction Layer

## Slide 8
System Architecture
1. Data Acquisition Layer
  Sensors: pH, Temperature, Color, and Load Cell
  Microcontroller: Arduino Uno R3 collects sensor data
  Wireless Module: ESP8266 (NodeMCU) transmits data to the cloud

## Slide 9
System Architecture
2. Data Processing & Storage Layer
  Cloud Platform: Firebase stores real-time sensor data
  ML Integration: LightGBM model fetches data, predicts milk quality (Low, Medium, High), and sends results back to Firebase
  Preprocessing: Feature scaling, outlier removal, and density calculation

## Slide 10
System Architecture
3. User Interaction Layer
  OLED Display: Real-time feedback for farmers
  Web Dashboard: Remote monitoring and analytics for processors and regulators
  Security: End-to-end encryption for safe data transmission and storage

## Slide 12
Build & working process
Module 1: Sensor Data Acquisition and Processing
  Arduino Uno R3 interfaces with:
    pH sensor (analog input)
    Temperature sensor (DS18B20 via OneWire)
    Color sensor (TCS3200 for RGB values)
    Load cell + HX711 (for density measurement)
  Data Preprocessing:
    Noise filtering
    Analog-to-digital conversion
    Derived density computed using:
  Serial Communication: Processed data sent from Arduino to NodeMCU (ESP8266)

## Slide 13
Module 2: IoT Connectivity via Firebase
  NodeMCU (ESP8266):
    Connects to Wi-Fi
    Packages data into JSON format:
  Sends data to Firebase Realtime Database using HTTP POST
  Supports retry logic for failed transmissions and power-saving modes
Build & working process
{ "color": 255,
"density": 1.02,
"temperature": 50,
"pH": 5.9. }

## Slide 14
Module 3: Machine Learning Integration
  Model Training (Offline):
    Features: pH, temperature, color, density
    Trained using LightGBM for fast, accurate classification
  Real-Time Prediction (Online):
    Python script fetches data from Firebase
    Predicts milk quality: Low, Medium, or High
    Pushes prediction results back to Firebase
Build & working process

## Slide 15
Module 4: User Interface
  OLED Display (On-site):
    Shows milk quality grade, confidence %, and timestamp
    Updates every 10 seconds
  Web Dashboard (Remote):
    Built using HTML, Tailwind CSS, Python
    Fetches live updates from Firebase
    Displays sensor trends and predictions with alerts
Build & working process

## Slide 16
model performance

## Slide 17
Webpage for deployment

## Slide 18
results from deployment

## Slide 19
Plagiarism report & Certificates

## Slide 20
Outcome & Paper Details
  Accurate identification of milk spoilage and adulteration.
  Affordable and accessible solution for small-scale dairy producers.
  Promotes sustainable dairy practices.
  Ensures food safety compliance.
Paper is Accepted at ICRETM2025
Paper Id: ICRETM251236
Selected Journal: Indonesian Journal of Science and Technology (ISSN: 2528-1410, (SCOPUS Indexed)

## Slide 21
THANK YOU